EMS SKILL

NEUROLOGICAL EMERGENCY / SPINAL MOTION RESTRICTION (SMR)

VEST–TYPE EXTRICATION DEVICE FOR THE SEATED PATIENT

PERFORMANCE OBJECTIVES:

Demonstrate competency in performing and directing team members in performing spinal motion restriction in the seated patient spinal restricting the movement of the head and neck using an extrication device for the seated patient when the patient meets the indications.

Perform and direct team members to secure a simulated patient using an extrication device used for the seated patient who meets the indications for spinal

CONDITION:

The EMT is the designated Team Leader on a patient who requires full Spinal Motion Restriction (SMR). There is no need for rapid extrication.  Necessary equipment will be adjacent to the patient or brought to the field setting.

EQUIPMENT:

Live model or manikin, chair or car, various sizes of extrication collars, extrication device for the seated patient, long spine board, straps or binders, head-neck immobilizer, padding material, 2-3" cloth tape, 3 assistants, goggles, masks, gown, gloves, trauma bag.

PERFORMANCE CRITERIA:

Items designated by a diamond () must be performed successfully to demonstrate skill competency.

Items identified by double asterisks (**) indicate actions that are required if indicated.

Items identified by (§) are not skill component items, but should be practiced.

| PREPARATION |  |
| --- | --- |
| Skill Component | Key Concepts |
| Establish body substance isolation precautions (BSI) | Mandatory (minimal) personal protective equipment – gloves |
| Assess the environment for safety | - Check for airbag deployment. If the airbags did not deploy, use caution during assessment and extrication. You may need to request the appropriate resources deactivate the air bag system. Ensure the vehicle is turned off. Motors on electric vehicles are very quiet. If you are in a confined space, ensure the area is safe from falling debris in confined space. |
| Determine the level of SMR required **Request three (3) additional rescuers if SMR is indicated | - Refer to Los Angeles County Reference Number 1334 60 - SMR is best achieved by four (4) rescuers: - Team Leader – positioned at the chest - Head – - Hips/Abdomen - Legs - The Team Leader is typically positioned at the chest and is the one (1) responsible for giving directions to the additional rescuers. - The sole job of the patient at the head is to minimize movement of the head and neck. |
| Approach the patient from the front – if possible | Approaching the patient from the front, whenever possible, will hinder the patient from having to turn his/her head to look at the EMS provider. |
| Assess the need for additional BSI | Situational - goggles, masks, gown |
| Direct the patient not to move or turn his/her head: Explain importance of remaining still Explain the care being delivered | Keeping the head still will decrease the potential for further injury. Providing an explanation of the procedure may assist with decreasing anxiety and promote a greater degree of cooperation. |

| PROCEDURE |  |
| --- | --- |
| Skill Component | Key Concepts |
| TEAM LEADER: Place the patient’s head in neutral in-line position and maintain axial stabilization throughout procedure - unless contraindicated **Team leader should relinquish manual stabilization of the head/neck to an assistant as soon as they arrive **Direct the assistant to take over maintaining manual stabilization of the patient’s head and neck **Ensure manual stabilization is always maintained during the switch | - The team leader is responsible for the patient assessment and for directing patient care and should NOT be the rescuer to physically maintain SMR of the spine. - Axial stabilization of the neck results in stabilization of the head and neck. Maintain manual stabilization of the patient’s head and neck until movement of the patient‘s head is restricted by the application of a cervical collar and the extrication device. - Depending on the situation, the rescuer who initiates and/or maintains axial stabilization may be positioned either behind or at the side of the patient. To prevent extension, flexion, lateral bending, or rotation of the head, place your thumbs facing anteriorly just below the zygomatic arches and spread fingertips along the sides of the face with the little fingers touching the base of the occiput. DO NOT apply traction. - The sole focus of the rescuer at the head and neck of the patient should be to maintain axial stabilization throughout the procedure. SMR begins with manual control of the head and neck. The C-collar is applied after the primary and neck assessment is completed. NEVER apply traction when restricting the motion of the neck. DO NOT attempt to move the head into an in-line position if the head is grossly misaligned (no longer extends from midline). - Moving the head may result in: - compromising the airway or ventilation - initiating or increasing muscle spasms of the neck - increasing neck pain - initiating or increasing neurological deficits - encountering resistance when attempting to move the head of an unconscious patient Move the head into an in-line position. Movement of the head and neck must be limited, and should be restricted to the position it was initially found if any of the following conditions are present: - head is grossly misaligned (no longer extends from midline) - moving the head into a neutral in-line position results in: ~ compromising airway or ventilation ~ initiating or increasing muscle spasms of the neck ~ increasing neck pain ~ initiating or increasing neurological deficits ~ encountering resistance when attempting to move the head of an unconscious patient |

| Skill Component | Key Concepts |
| --- | --- |
| Prepare the extrication device | Remove the leg straps at this point since they are usually secured behind the head of the device. Freeing the straps at this time avoids unnecessary movement of the patient later on. - If the leg straps are not going to be used, leave them attached in the storage configuration so they will not interfere with the extrication device. |
| Assess the distal extremities for: CSM Circulation/Pulse Sensation Motor movement | Asses the condition of the extremities prior to moving the patient and when SMR procedure has been completed. Circulation/Pulse - palpate for the distal pulses in the extremities and mark with an “X.” Check for pulse characteristics, color, temperature, capillary refill. Sensation - determine numbness or tingling and sensitivity to touch. Motor movement - have patient wiggle fingers or toes. |
| Assess neck/cervical spine for DCAP-BTLS TIC | - DCAP/BTLS TIC is a mnemonic used for a rapid trauma assessment. These elements act as guide for the assessment information that is specific to each body part. Check for a tracheal stoma. If stoma is present, restrict head and neck movement by using an approved spinal motion restriction device/procedure and DO NOT apply cervical collar. - The neck and cervical spine are assessed for DCAP/BTLS TIC -Deformity (visible and palpated) -Contusions -Abrasions -Penetrations / Punctures -Burns/bruises -Tenderness -Lacerations -Swelling / Scars Palpate for: - Tenderness - Instability - Crepitus Additional Assessment Elements - Track marks and tattoos - Medical alert tags, jewelry - Jugular vein distention (JVD) - Tracheal deviation - Accessory muscle use - Subcutaneous emphysema (crepitus) - Stoma Medical Devices: - Tracheostomy - Central venous catheters |
| Size and apply a cervical collar ** Ensure the cervical collar does not obstruct the airway and hinder mouth opening, ventilation or circulation | - Most cervical collars have an opening at the anterior neck, which allows for only limited examination. Therefore, the neck must be thoroughly assessed prior to the application of the cervical collar. - Cervical collars do not accommodate an angulated or rotated head. Therefore, DO NOT attempt to apply a cervical collar if the head is not in an in-line position. Cervical collars DO NOT “immobilize” the neck. They allow for 25-30% of motion by flexion and extension and up to 50% for other types of motion. Continued… - A unique function of the cervical collar is to rigidly maintain a minimum distance between the head and neck to eliminate intermittent compression of the cervical spine. An incorrectly sized cervical collar may cause hyper-flexion, hyperextension, or compression of airway and great vessels. A cervical collar that hinders the mouth from opening may lead to aspiration if the patient vomits. Improperly sized cervical collars may result in complications if: - too loose it is ineffective and can cover the anterior chin, mouth, and nose resulting in airway obstruction. - too tight it can compress the carotid arteries and neck veins. - too short it will not protect the cervical spine from compression and allows for significant flexion. - too tall it will cause hyperextension of the head. - There are times when a patient’s neck cannot be properly fitted with a cervical collar at all. In these cases, improvised devices must be used (towel roles, trauma dressings, rolled blankets) in an attempt to restrict the movement of the patient’s head and neck. |
| Check for signs and symptoms of obstructed breathing: - Choking - The patient cannot speak – if conscious - Coughing - Cyanosis | Direct pressure on the anterior neck may result in compression of the trachea/carotid arteries or large veins of the neck. |
| Lean the patient forward as a unit and remove any articles and debris behind the patient ** Ensure spinal alignment is not compromised | Articles and debris can interfere with sliding the extrication device between the patient and the seat. Moving the patient slightly forward (i.e. a hand’s thickness) will assist in placing the extrication device appropriately and reducing friction. To avoid jostling the patient’s head, coordinate the patient’s movement forward while maintaining axial stabilization of the head. |
| Assess the back |  |
| Tilt the extrication device at a 45o angle and slide the device behind the patient until it is aligned with patient’s spine | Place the Velcro and buckle side of the device against the seat and away from the patient. - Tilting the device: - Prevents the extrication device from rolling up - Allows the extrication device to clear a roofline |
| Pull the extrication device up vertically until the torso flaps are positioned securely in both axillae ** Ensure the movement of the patient’s head is minimized during this maneuver ** Ensure the device is centered alongside the patient’s spine | The rescuer stabilizing the head lifts his/her elbow slightly to provide clearance for the extrication device and taking care not to move the head. Use the lift handles to center the extrication device behind the patient. |
| Adjust the patient’s position and gently lean the patient back against the device | To check and adjust patient’s position, the rescuer behind the patient continues to manually stabilize the head and neck, and the rescuer on the side of the patient gently places the patient’s chest in contact with the device. - Some patients may not be able to sit fully back into the device. Continued… Positioning the patient as close as possible against the device helps to minimize the amount of padding needed between the head, neck and shoulders, and the extrication device. |
| Wrap both torso flaps around the patient, just below the axillae **Ensure the extrication device is in contact with the patients back as much as possible. **Ensure the top edges of the torso flaps press firmly into both axillae **Fold 2 slats of each torso flap inward for pregnant patients | The lift handles should be used to raise and adjust the torso flaps under both axillae to keep the device in place until the straps can be buckled. It is important that the extrication device fits snug under both axillae to ensure the patient’s weight is suspended and prevent the patient slipping down when lifted. |
| Verbalize the correct order for applying and securing the patient in the KED device. First - the middle torso strap Second - the bottom torso strap - Third - the leg straps - Fourth - fill the void between the head and the device - Fifth - the top torso strap | Feed-and-pull tightening technique - Grasp the portion of the strap and create a little slack in the strap. - Feed the slack into the buckle with the other hand. - Repeat until the strap is snug or tight. The middle strap secures the area of the extrication device. The middle and bottom straps must be tightened only enough to leave a space between the strap and patient’s chest. This is determined by placing 2-3 fingers flat between the strap and the patient’s chest. Straps must never be twisted as this may compromise the patient’s stability in the device or cause additional discomfort and skin breakdown. - Ensure that the top strap is not fastened at this time, but is clear and not under the middle or bottom strap Note: The top strap is secured and the rest of the torso straps are tightened just before the patient is transferred to a long spine board. |
| Attach and adjust the middle torso strap | - If the patient is pregnant, crisscross the middle and bottom straps to keep abdominal area free. |
| Attach and adjust the bottom torso strap |  |
| Attach and adjust the leg straps Crisscross configuration Cross the straps at the groin and buckle the straps opposite their sides of origin OR Same-side configuration Cross the straps at the groin, but buckle them on their sides of origin ** Ensure straps lie flat from their anchor point and are as close as possible to the body’s midline | - Tighten both straps and leave a space between the leg and the strap. You should be able to place 2-3 fingers lying flat between the strap and the patient’s leg. If groin injuries are suspected, the EMS provider should consider whether the use of leg straps will aggravate the injury. Directions for applying leg straps: - Pass one leg strap between the leg and car seat and “see-saw” the strap into position under the patient’s leg and buttock. - Straps in either the crisscross configuration or same-side configuration must be positioned as close as possible to the body’s midline (straight down) from their anchoring points on the back before passing beneath the buttocks. - DO NOT cross straps at the groin, but buckle them on their sides of origin Extra care must be taken to prevent pressure on the groin when using the same-side configuration. Ensure that the leg straps are in the correct position and are close to the midline of the body. This requires a more focused effort because the tendency is to place the straps away from the midline. |
| Skill Component | Key Concepts |
| Place padding behind patient’s head and neck - if indicated | The padding should be placed without hyperextending or flexing the neck - The amount of padding depends on the patient’s medical condition, body structure, and head shape. Some patents may not need padding when they are placed in the extrication device correctly. Placing padding behind the head and neck ensures neutral alignment of the spine. The Adjusta-Pad can use or other suitable padding. |
| Wrap the head flaps around the patient’s head |  |
| Secure the patient’s head: Upper strap (head) Center the rubber padded strap or tape over the patient’s forehead (tape must adhere to skin) Position strap ends or tape at a downward angle and secure them to the fastening straps on the head flaps Bottom strap (neck) Place strap or tape against a rigid area beneath the “chin” of the cervical collar and above the neck opening Position the strap ends or tape horizontally and secure them to the head flaps ** Ensure tape adheres to the skin. | If the upper strap contains a rubber pad: - Grasp the strap with both hands - Turn the pad fully inside-out exposing the rubber pad - Center the pad at the patient’s forehead with the rubber against the skin Placing the head strap or tape at a downward angle minimizes the chance that the strap will slip upward on the forehead. The rubber or tape keeps the strap from sliding. A patient should not be able to move his/her head if the tape is properly placed and adhered to the patient’s skin. Therefore, DO NOT use gauze or folded tape over the forehead. If there is a gap between the extrication device and the patient’s head, cervical collar or shoulders, padding needs to be placed without hyperextending or flexing the neck. The Adjusta-Pad can be folded or other padding materials used if additional thickness is needed. |
| Fasten and snug the top torso strap using the feed-and-pull tightening technique | Snug both straps leaving a space between the chest and strap by placing 2-3 fingers flat between the strap and the patient’s chest. |
| Evaluate the application of the device and makes adjustments as needed | Check that the flaps are secure in both axillae, the head is in the in-line position, and that straps and pads are secure. |
| Ensure all straps have been tightened prior to transferring the patient to the long spine board. | Straps should be tightened in the following order: - middle torso strap - bottom torso strap - leg straps - top torso strap Straps should be placed across chest in manner that does not compromise chest expansion and increase intra-abdominal pressure. Have patient inhale to check for adequate chest expansion. The patient must still be able to take a full tidal volume breath. You should be able to easily insert 1-2 fingers between the strap and the patient. Head straps are already secured and do not need to be tightened and further. |
| Re-assess breathing for adequate chest expansion |  |
| Re-assess all extremities for: CSM Circulation/Pulse Sensation Motor movement | - Asses the condition of the extremities prior to moving the patient and when SMR procedure has been completed. Circulation/Pulse - palpate for the distal pulses in the extremities and mark with an “X.” Check for pulse characteristics, color, temperature, capillary refill. Sensation - determine numbness or tingling and sensitivity to touch. Motor movement - have patient wiggle fingers or toes. |

| Skill Component | Key Concepts |
| --- | --- |
| Remove the patient from the vehicle using appropriate extrication technique | Remove the patient by using the side lifting handles and supporting the legs. This minimizes the need to grasp the extremities or clothing to move the patient. |
| Place the patient onto a long spine board |  |
| Loosen the top torso strap without unfastening the buckle | Decreased chest expansion may results in asphyxia. Loosening the top torso strap allows for full chest expansion. |
| Loosen and/or remove the leg straps | - Loosening and/or removing the leg straps provides for patient comfort. |
| Keep remaining straps tightened ** Ensure patient is well padded if leg straps were not applied, removed or have loosened and not retightened | Keeping the remaining straps tightened provides stability during transfer to the ambulance. |
| Secure patient’s torso and legs to spine board | Securing the patient to the spine board prevents further injury if patient needs to be tilted or rolled to the side. |
| Remove the patient’s shoes and socks | When shoes and socks are left on the patient, assessing feet for circulation, motor movement/function and sensation, cannot be properly assessed. |
| Remove bottom head strap (neck) | DO NOT use a chin strap to immobilize the head. The patient may aspirate if he/she cannot open his/her mouth in case of vomiting. Compression of the trachea and carotid arteries may occur. |
| Restrict the motion of head and neck by using an approved device ** Ensure device does not compromise patient’s airway, carotid arteries or neck veins ** Reduce or remove occipital and neck padding - if indicated. | Always secure the patient’s head last to spine board since the body weighs more that the head in adults and may pull the spine out of alignment if the body is not secured first. Re-evaluate if padding is adequate to ensure SMR is maintained and it does not compromise the airway. Reducing or removing the occipital and neck padding prevents hyper-flexion of neck if padding is not needed. |
| Re-assess all extremities for: CSM Circulation/Pulse Sensation Motor movement ** Correct area of circulatory compromise – if needed | - Asses the condition of the extremities prior to moving the patient and when SMR procedure has been completed. Once spinal motion restriction has been instituted only a physician should determine if the patient can be removed from the restriction device. |
| Ensure the unconscious patient’s arms are secured prior to rolling the patient to the ambulance - Conscious patients - Unconscious patients | The patient’s arms should be secured next to the patient’s side or across the torso prior to moving the patient. - For conscious patients, their arms do not need to be secured for transport. For unconscious patients, their arms should be secured. However, in both cases, you should anticipate the treatment needs of the patients. Gaining IV access or reassessment vital signs may require leaving one (1) arm accessible. The patient’s arms should not be included in the hips or groin loops (if used). If these straps are tight enough to immobilize, they will compromise circulation. |
| Lifts the long spine board with the patient onto the gurney |  |
| Secure the long spine board with the patient to the gurney | - Securing the long spine board to the gurney prevents the board with the patient from falling off the gurney during transport to the ambulance. - The backboard only serves as an extrication device |
| Roll the gurney to the ambulance |  |
| Un-secure the long spine board with the patient from the gurney prior to loading the patient into the ambulance. |  |
| Skill Component | Key Concepts |
| Remove the KED device from the patient by: - Unbuckle the straps in the following order: - Top head strap - Top torso strap - Leg straps – if not already removed prior - Bottom strap - Middle strap | - The straps/padding MUST be removed opposite of the order they were applied. Removing the straps any other way may place undue pressure on the neck. |
| Roll the patient off the long board just prior to loading the patient inside the ambulance, while maintaining SMR of the head and neck | - The backboard should not be maintained during transport for the purpose of SMR. Whenever possible, patients should be rolled off the backboard prior to transport. Exceptions include hemodynamically unstable patients or when there are scene safety concerns and transport must commence immediately. - Once the patient has been placed onto the ambulance gurney, the backboard does not provide any advantage. Additionally, remaining on the backboard may cause harm to the patient related to increased pain and increased lateral movement. |
| RE-ASSESSMENT (Ongoing Assessment) |  |
| Skill Component | Key Concepts |
| § Re-assess the patient at least every 5 minutes for unstable patients and every 15 minutes for stable patients. Primary assessment Relevant portion of the secondary assessment Vital signs: Blood pressure, pulse, SpO2, and respirations **Manage patient condition as indicated. | Unstable patients are those who have abnormal vital signs, S/S of poor perfusion, or if there is a high suspicion that the patient’s condition may deteriorate. - Evaluating and comparing results from a prior assessment assists with recognizing if the patient is improving, responding to treatment, or deteriorating. |
| PATIENT REPORT AND DOCUMENTATION |  |
| Skill Component | Key Concepts |
| § Report and document: Mechanism of injury Neuro and circulatory findings of all 4 extremities before and after spinal motion restriction has been instituted Injuries sustained Treatment rendered and response | Documentation must be on either the Los Angeles County EMS Report or departmental Patient Care Record form, or ePCR. Documenting reassessment information provides a comprehensive picture of patient’s response to treatment. The reassessment information (before patient care is transferred) should be documented in the section of the EMS form that is called “Reassessment after Therapies and/or Condition on Transfer.” |

Developed:  2/05,      Revised 11/2018

NEUROLOGICAL EMERGENCY / SPINAL MOTION RESTRICTION (SMR)

VEST–TYPE EXTRICATION DEVICE FOR THE SEATED PATIENT

Supplemental Information

INDICATIONS:

For suspected injuries to the spine when a patient is found in a lying or sitting position and extrication is required.

CONTRAINDICATIONS FOR ATTEMPTING NEUTRAL IN-LINE POSITION OF THE HEAD:

If head is grossly misaligned (no longer extends from midline)

If moving the head into a neutral in-line position results in:

-	compromising airway or ventilation

-	initiating or increasing muscle spasms of the neck

-	increasing neck pain

-	initiating or increasing neurological deficits

-	encountering resistance when attempting to move the head of an unconscious patient

COMPLICATIONS:

Hypoventilation

Aspiration

Asphyxia

COMMON MISTAKES:

Inadequate SMR – leads to movement within the device if the device is not adequately secured.

Lack of appropriate padding under occiput for adults and older children – results the head to be hyperextended.

Lack of appropriate padding under shoulders and torso in toddlers and infants – results the head to be hyper-flexed.

Failure to reassess patients for circulation, sensation, motor movement, airway compromise, and inadequate chest expansion – may result in increased neuro deficits or death.

Taping or placing straps across the chin – may cause aspiration resulting in airway obstruction.

Improper materials used for head SMR such as IV bags and sandbags – may cause further injury if the patient’s position is shifted or is moved.

Sizing cervical collars in place – may jostle the patient’s head and neck resulting in additional discomfort or spinal compromise.

- Failing to remove the long spine board and KED device after the patient has been placed on the gurney.

TIGHTENING THE STRAPS:

Remove excess slack from the strap after removing from storage position and before placing device on the patient.

To secure a fractured pelvis use the lower portion of the extrication device.

When groin injuries are suspected, use the same side configuration or DO NOT use leg straps

Use caution in placing leg straps if patient has a possible hip or femur fracture – lower legs cannot be secured.

Use the feed-and-pull technique to snug or tighten straps so that the patient’s torso is not jostled during the SMR process.

Feed-and-pull technique:

-	Grasp the portion of the strap and create a little slack in the strap.

-	Feed the slack into the buckle with the other hand.

-	Repeat until the strap is snug or tight.

ORDER FOR SECURING AND TIGHTENING THE STRAPS (some devices have color coded straps)

Torso – middle strap

Torso – bottom strap

Leg straps

Head – upper strap

Torso – top strap – may initially be buckled, but do not tighten until patient is ready to be transferred to a long spine board.

- Neck – bottom head strap – must be removed prior to securing patient’s head to the back board.

VEST–TYPE EXTRICATION DEVICE FOR THE SEATED PATIENT

Supplemental Information (Continued)

TRANSFERRING PATIENT TO THE LONG SPINE BOARD:

Pivot, tilt, and lift patient until his/her back is toward the outside of the vehicle.  Both rescuers must be on the same side of the vehicle.

Slide the spine board between the patient and the seat

Lift vest and patient out of vehicle and onto long spine board

Remove the bottom neck strap.

ADAPTING EXTRICATION DEVICE FOR A PREGNANT PATIENT:

Fold 2 slats inward of each torso flap inward to leave abdomen free.

Straps can be positioned to lie beneath the breasts but above the abdomen.

-	Two strap method – fasten bottom strap in the middle buckle and middle strap in bottom buckle.

-	Three strap method – fasten middle strap in its own buckle, bottom strap in top buckle, and top strap in bottom buckle.

ADAPTING EXTRICATION DEVICE FOR PEDIATRIC PATIENTS:

Child’s size and condition determines how the extrication device can be adapted.

If legs are longer than the extrication device, the child is placed in the device and then onto a long spine board.

If extra padding is needed due to a small size, a folded blanket can be placed on the child so the torso flaps can be wrapped and fastened normally.

Keep children in the car seat if they are stable; car seats provide an excellent SMR device if no damage to it has been sustained.

ADAPTING EXTRICATION DEVICE FOR AN ANGULATED NECK:

Fold the head flaps inward, position a rolled towels as needed.

Place head strap across forehead and secure strap to the fastening strips.

ADAPTING EXTRICATION DEVICE WHEN USING AN AED OR MANUAL DEFIBRILLATOR AND PLACING ECG LEADS:

Fold 2 slats of each torso flap inward to provide more chest exposure.  Loosening 2 of the 3 torso straps allows defibrillation without losing immobility.

ADAPTING THE EXTRICATION DEVICE FOR HIP AND FEMUR STABILIZATION:

Place the extrication device on a long spine board with the head portion of the device toward the foot end.

Center the torso portion of the device slightly above the waist.

Secure the torso flaps around the patient.

Wrap the head flaps around the injured leg and secure with the head straps.

ADAPTING THE EXTRICATION DEVICE FOR PELVIC STABILIZATION:

Place the extrication device on a long spine board with the head portion of the device toward the foot end.

Center the torso portion of the device slightly above the waist.

Secure the torso flaps around the patient’s pelvic area.

Wrap the head flaps around both legs and secure with the head straps.

| COMPONENTS OF A TRAUMA BAG: |  |  |
| --- | --- | --- |
| Adhesive dressings (Band-Aids® | Dressings – Trauma, 4X4, Vaseline | Gauze bandages |
| Trauma shears | Splints – long, short, and traction | Extrication device |
| Commercial chest seals | Tape – assorted sizes | Head immobilizer device |
| Tourniquets | Occlusive dressing / Vaseline gauze | C collars |
| Hemostatic dressings | Normal saline irrigation | Flashlight |
| PPE: gloves/gown/goggles | Burn pack or burn sheet |  |