****NAME \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

DATE \_\_\_\_\_/\_\_\_\_\_/\_\_\_\_\_

**SKILL PERFORMANCE EVALUATION**

PATIENT ASSESSMENT

**PEDIATRIC LENGTH BASED RESUSCITATION TAPE**

**PERFORMANCE OBJECTIVES**

Demonstrate competency in the use of a Pediatric Length Based Resuscitation Tape to determine color code, weight, drug dosages, and size of equipment for a pediatric patient.

**EQUIPMENT**

Simulated pediatric patient or infant/child manikin, Pediatric Length Based Resuscitation Tape, goggles, masks, gown, gloves.

**EXAMINER(S):**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ **Attempt: 1st 2nd 3rd (final)**

PASS

FAIL

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | | | | |
| **PREPARATION** | | | | |
| **Skill Component** | | **Yes** | **No** | **Comments** |
| Establishes body substance isolation precautions | |  |  |  |
| Places the patient in a position for measurement of body length and weight in kilograms (kg) | Supine |  |  | Scenario dependent |
| Upright |  |  |
| Removes the tape from its outer package | |  |  |  |
| Locates red end of tape labeled “Measure From This End” | |  |  |  |
| Unfolds the tape with the multi-colored strips and kg markings visible | |  |  |  |
|  | | | | |
| **PROCEDURE** | | | | |
| **Skill Component** | | **Yes** | **No** | **Comments** |
| Places red end of tape even with most stable end of patient’s body | Top of head (supine) |  |  |  |
| Heel of foot (upright) |  |  |
| Secure the red end of tape even with the starting point while unfolding tape and stop at the appropriate location: | Heel – if standing |  |  |  |
| Top of the head (crown) |  |  |
| Unfolds the tape and stops even with most stable end of patient’s body | Heel of foot (supine) |  |  |  |
| Top of head (upright) |  |  |
| Runs hand down the tape to ensure it is smooth until it reaches either of the two (2) locations | |  |  |  |
| Reads/Verbalizes the correct: | Color zone |  |  |  |
| Kg weight |  |  |

Developed 1/10 Revised 10/2018