| FACILITY SELF-INSPECTION CHECKLIST |  |  |  |  |
| --- | --- | --- | --- | --- |
| A | Parking Lots and Exterior | Yes | No | NA |
|  | Paved Areas |  |  |  |
| 1 | Are all concrete tire stops free from protruding metal anchor rods? |  |  |  |
| 2 | Is parking area free from potholes, depressions or other trip hazards? |  |  |  |
| 3 | Are crosswalks and traffic lanes clearly marked? |  |  |  |
| 4 | Are all open drains or channel recesses grated? |  |  |  |
| 5 | Are paved walk path surfaces inspected and repaired (i.e., lifts, cracks, etc.)? |  |  |  |
|  | Landscaping |  |  |  |
| 6 | Is all vegetation (trees/shrubs) maintained in a manner to prevent fire hazards, pedestrian injury, and vermin/pest harborage? |  |  |  |
| 7 | Are turf areas inspected for holes, exposed roots, etc. and documented? |  |  |  |
| 8 | Are all irrigation valve covers/sprinkler heads in place? |  |  |  |
| 9 | Are sprinkler/standpipe connections clearly marked? |  |  |  |
| 10 | Are landscape sprinklers (adjacent to walkways) recessed? |  |  |  |
| 11 | Is the area surrounding the building free of bushes or other hiding places? |  |  |  |
|  | Facility Surfaces |  |  |  |
| 12 | Is the building address or identification clearly visible? |  |  |  |
| 13 | Is building free from signs of vandalism? |  |  |  |
| 14 | Are exterior walls free from cracks or other damage? |  |  |  |
| 15 | Are windows free from cracks or broken panes? |  |  |  |
|  | General |  |  |  |
| 16 | Is parking area properly illuminated? |  |  |  |
| 17 | Is there a nearby parking lot reserved for employees only? |  |  |  |
| 18 | Is the parking lot attended or otherwise secure? |  |  |  |
| 19 | If the facility is open at night, is the exterior lighting sufficient? |  |  |  |
| 20 | Is there enough lighting to see clearly in the parking lot and when walking to the building? |  |  |  |
| 21 | Do electric gates function properly? |  |  |  |
| 22 | Are fire department connection caps in place? |  |  |  |
| 23 | Are all drain clean out caps in place? |  |  |  |
| 24 | Are combustible materials stored away from the building? |  |  |  |
| 25 | Are exits onto public streets free from visibility obstructions? |  |  |  |
| 26 | Are fire hydrants accessible? |  |  |  |
| 27 | Is the refuse bin/disposal area maintained in a sanitary manner? |  |  |  |
| 28 | Are the entrances to the building clearly visible from the street? |  |  |  |
| 29 | Is video surveillance provided outside the building including the parking lot? |  |  |  |
| 30 | Are security personnel provided outside the building? |  |  |  |

| B | Electrical | Yes | No | NA |
| --- | --- | --- | --- | --- |
| 31 | Are all light fixtures in good condition? |  |  |  |
| 32 | Is appropriate clearance provided around electrical panels (36” in front and minimum width of 30”)? |  |  |  |
| 33 | Are electrical panels marked with voltage, current, wattage and other ratings? |  |  |  |
| 34 | Is a directory provided which indicates the purpose of each circuit breaker? |  |  |  |
| 35 | Are openings in the electrical panels guarded and closed? |  |  |  |
| 36 | Are electrical panels cool to the touch? |  |  |  |
| 37 | Are wall plates in place and in good condition? |  |  |  |
| C | Fire Protection | Yes | No | NA |
| 38 | Are post indicator valves (PIVs) secured in the “OPEN” position? |  |  |  |
| 39 | Is the local fire department acquainted with the facility and specific hazards (if any)? |  |  |  |
| 40 | If building is equipped with an automatic sprinkler system, is the main control valve accessible? |  |  |  |
| D | Walkways, Stairways and Interior Workspaces | Yes | No | NA |
| 41 | Are holes in the floor, sidewalk or other walking surface repaired properly, covered or otherwise made safe? |  |  |  |
| 42 | Are guardrails provided wherever surfaces are elevated more than 30 inches above any adjacent floor or the ground? |  |  |  |
| 43 | Are grates or similar covers over floor openings, such as floor drains, of such design that foot traffic or rolling equipment will not be affected by the grate spacing? |  |  |  |
| 44 | Are steps on stairs and stairways designed, provided and maintained with a surface that renders them slip-resistant? |  |  |  |
| 45 | Are handrails located between 30 and 34 inches above the leading edge of the stair tread? |  |  |  |
| 46 | Are all exterior walkways visible to security personnel? |  |  |  |
| 47 | Do private and/or hidden areas in the workspace (where juveniles are present), utilize surveillance cameras or other technology to aid in preventing child sexual abuse? |  |  |  |
| 48 | Are interior walkways equipped with surveillance cameras? |  |  |  |
| F | Storage Areas | Yes | No | NA |
| 49 | Are surveillance cameras installed in storage rooms (where juveniles are present) to aid in preventing child sexual abuse? |  |  |  |
| 50 | Is the storage room free of clutter? |  |  |  |
| 51 | Is the storage room organized to allow for easy access throughout the room? |  |  |  |
| 52 | Are boxes and items stacked appropriately so they will not topple over? |  |  |  |
| 53 | Are shelves, cabinets, storage racks, etc. over 5-feet secured from falling? |  |  |  |
| F | Permits and Recordkeeping | Yes | No | NA |
| 54 | Are operating permits and records available and current for such items as elevators, air pressure tanks, etc.? |  |  |  |
| G | List any other accessible areas not noted above (e.g., closets, laundry facilities, large food pantries, etc.) and whether surveillance cameras were installed to monitor the area. | Yes | No | NA |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |

All conditions which result in a “No” answer, or for any reason need further clarification or comment, shall be documented in the following table. Response must include a recommended corrective action and steps to complete the corrective action.

| DETAILS & COMMENTS |  |  |
| --- | --- | --- |
| CATEGORY Page ___ of ___ |  |  |
| Letter | Number | Documentation shall be detailed so as to be self-explanatory to anyone evaluating the report (whether present during inspection or not), and should clearly convey the specifics relevant to the observed condition, location, and recommended corrective action to abate the condition. Attach additional sheets as necessary. |